學生校外賃居處所安全自主檢核表

YZU  Off-campus Housing Safety Inspection Form

| 系級： 學號： 姓名： 電話： 檢核日期： Class Student ID Name Telephone Verification date 租賃地址： 房東電話： Rental address Landlord's phone number |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 項目 Type | 項次 Item No | 訪視內容 Description | 檢查情形 Check the situation |  | 備考 Remarks |
|  |  |  | 是Yes | 否No |  |
|  | 1 | 是否為木造隔間套房(雅房)或鐵皮加蓋? Is the compartment suite (room) made of wood or iron sheet? |  |  | 如勾選是，表示建物防火性差 If Yes, means poor fire- resistance. |
| 安全項 目 | 2 | 使用高耗能(如：電暖器)或多種電器同時插在同一條延長線上 Use high energy consumption (such as electric heaters) or multiple electrical appliances plugged in the same extension cord |  |  | 如勾選是，應改善以防範電線走火 If Yes, please improve to prevent misfiring of electric wires |
|  |  |  |  |  | 如勾選是，表示具火災提醒功能 If Yes, means the fire- related emergencies are detected |
| Safe ty | 3 | 是否裝設火警自動警報器或住宅用火災警報器(偵煙器)? Automatic fire alarm system installed ? |  |  |  |
|  | 4 | 具備功能正常之滅火器? Equipped with a fire extinguisher with normal function. |  |  | 如勾選是，表示指針在綠色區，且仍在使用期限內 |
|  |  |  |  |  | If Yes, means the pointer is in the green zone and is still in use. |
|  | 5 | 逃生通道(標示)是否暢通(清楚)? Is the escape route marked clear? |  |  | 如勾選是，表示走道寬度達 75 公分以上，且未堆積雜物。 |
|  |  |  |  |  | If Yes, means the aisle width 75 cm or more without clutter |
|  | 6 | 是否設置電熱式熱水器或強制排氣熱 水器? |  |  | 如勾選是，表示具防範一氧化 碳中毒 |
|  |  | Equipped with a electric water |  |  | If Yes, means prevent from |
|  |  | heater |  |  | Carbon Monoxide Poisoning |
|  | 7 | 建築物是否具有門禁管理措施? Does the building have access |  |  | 如勾選是，表示具門禁管理措 施 |
|  |  | control measures? |  |  | If Yes, means access control |
|  |  |  |  |  | measures are provided. |
| 輔助項目 Subs | 8 | 任一樓層是否分間為6個以上使用單元或設置10個以上床位之居室者(H1-高密度租賃建物) Whether any floor is divided into more than 6 units or more than 10 beds |  |  | 如勾選是，應請租賃建物業者辦理公安申報期限： 300 ㎡以上：每 2 年 1 次。 300 ㎡（含）以下：每 4 年 1 次 If Yes, the landlord shall apply for a safety certification. |
| idy | 9 | 建築物內或周邊是否裝設監視器設備? |  |  | 如勾選是，可提升賃居安全 |
|  |  | Is there any surveillance equipment |  |  | If Yes,it will improve the |
|  |  | installed in or around the building? |  |  | safty. |

|  | 10 | 建築物內或周邊通道(停車場所)是否裝設緊急照明設備? Are emergency lighting fixtures installed in the building or in the surrounding walkways (parking Spaces)? |  |  |  | 如勾選是，可提升賃居安全 If Yes,it will improve the safty. |
| --- | --- | --- | --- | --- | --- | --- |
|  | 11 | 是否瞭解用電安全常識? |  |  |  | 如勾選是，可提升賃居安全 |
| 宣導項目 advo cacy |  | Do you know electricity safety? https://www.taipower.com.tw/tc/ne ws_noclassify.aspx?pn=2&cid=537&m id=323&key= |  |  |  | If Yes,it will improve the safty |
|  | 12 | 是否熟稔住所逃生通道及逃生要領? Are you familiar with the escape |  |  |  | 如勾選是，可提升賃居安全 If Yes,it will improve the safty |
|  |  | routes and evacuation instructions? |  |  |  |  |
|  | 13 | 是否使用內政部定型化租賃契約? |  |  |  | 如勾選是，可保障租賃權益 |
|  |  | Use the Residential Lease Agreement |  |  |  | If Yes,it will improve the housing right. |
|  | 14 | 是否知悉鄰近派出所、消防隊、醫療院所及學校校安專線聯繫電話 Do you know the telephone numbersof nearby police stations,fire brigades,medical institutions and school’s Security Office. |  |  |  | 如勾選是，有利緊急事件協助 |
|  |  |  |  |  |  | If Yes,it will improve the |
|  |  |  |  |  |  | safty. |
| 以上內容學生自評後，請交回軍訓室續辦 After students self-evaluate the above content, please return it to the Academic Affairs Office for renewal. |  |  |  |  |  |  |
| 檢 核 結 果(以下內容由學校承辦人員依學生自評內容填寫) Inspection Result |  |  |  |  |  |  |
| □學生自評符合需求，留存備查。 Student self-assessment meets the requirements and is kept for future reference |  |  |  |  |  |  |
| □學生自評需追蹤輔導改進，由學校視訪談學生結果，採取相關措施，並紀錄備查。 Students'self-assessme nt doesn’t meet the s tandard. |  |  | 經訪談後，建議採取措施：(可複選) Recommended actions □第 1 7 項其中 1 項以上有安全疑慮者，請學校派員實施關懷訪視。 Safety concerns from 1-7, please send staff to and visit the site. □提醒學生(家長)通知房東改善有安全疑慮項目。 Remind students (parents) to inform the landlord to improve the project with safety concerns □第 8 14 項其中 1 項以上為【否】，請各校加強教育宣導。 “No”from 8-14. strengthen education and publicity. |  |  |  |
|  |  |  | 學校關懷訪視日期： | 年 | 月 | 日 |
|  |  |  | Visit Date |  |  |  |